14-STOREY BUILDING

ARCHITECTURAL AND ELECTRICAL PRESENTATION

INTRODUCTION

This project presents the design of a 14-storey building developed in Archicad. The same typical floor plan is repeated from the 1st floor to the 14th floor, with a rooftop slab above the 14th floor.

The drawing includes the architectural floor layout together with the electrical wiring layout.

ARCHITECTURAL FLOOR PLAN

General Layout

The floor plan is rectangular in shape with an overall width of 12.300 m.

This width is divided into:

4.300 m

3.700 m

4.300 m

Wall thicknesses shown in the drawing measure 0.300 m.

The building depth measures approximately 18.300 m, made up of repeated internal sections including 3.700 m room spans and 0.300 m wall separations.

The layout is symmetrical along the central axis.

Spatial Arrangement

Each floor contains:

Eight rooms labeled ROOM 1 to ROOM 8

Two corridor sections

Two elevators positioned at the center

Four rooms are arranged on the left side and four rooms on the right side of the corridor. The arrangement mirrors across the center of the building.

Corridor Design

The corridor is centrally positioned and connects all rooms to the elevators.

It runs through the middle of the building and provides access to each unit. The corridor separates the rooms on both sides while maintaining clear movement circulation.

Room Layout

Each labeled room includes visible internal elements such as:

A bed (sleeping area)

Seating furniture

A small stand

A toilet/bathroom space

Room dimensions shown include 3.700 m internal spans, separated by 0.300 m thick walls.

All rooms follow the same size and layout arrangement across the floor.

Elevator Placement

Two elevators are positioned at the center of the building.

They are accessible directly from the corridor and are aligned within the building core.

Their placement ensures central access from both sides of the layout.

Structural Alignment

The drawing shows:

0.300 m thick structural walls

Repeated 3.700 m room modules

Vertically aligned partitions

The repetition of this structural grid continues from the 1st to the 14th floor.

Rooftop Level

Above the 14th floor, a rooftop slab is provided as the topmost level of the building.

3.0 ELECTRICAL WIRING PLAN

Electrical Layout

The floor plan includes electrical symbols and wiring connections within each room and corridor.

Visible elements include:

Light points

Switches

Socket outlets

Wiring connections between switches and lighting points

Lighting Arrangement

Each room contains a centrally positioned lighting point.

Corridor areas also include lighting points for shared space illumination.

Switches are positioned near the door entrances of the rooms.

Socket Placement

Socket outlets are placed along the room walls.

They are positioned to serve the functional areas within each room such as the sleeping and seating spaces.

APPLICATION TO ALL FLOORS

The same measured layout is repeated from the 1st floor to the 14th floor.

Key dimensions repeated throughout include:

Total width: 12.300 m

Approximate depth: 18.300 m

Room spans: 3.700 m

Wall thickness: 0.300 m

The rooftop slab is located above the 14th floor.

CONCLUSION

The design presents a symmetrical multi-storey layout consisting of:

Eight rooms per floor

Two central elevators

A centrally positioned corridor

Repeated structural wall thickness of 0.300 m

Internal room spans of 3.700 m

Overall floor width of 12.300 m

The electrical plan shows lighting points, switches, socket outlets, and wiring connections integrated within the architectural layout.